Requirements:

For the requirements, the final 3D gaming environment must have the capability to consistently assess patients while giving them visual cues for repeatable tasks that can be easily configured within the software. The environment must clearly communicate position and orientation of on-screen items, so as to not confuse the patient. This means details like lighting, shading, etc. are very important areas for us.

So there’s also a variety of tasks that need to be implemented, at least 5. The categories of tasks or assessments needed are: point-to-point reach, handgrip-to-handgrip, trajectory-following and trajectory-following w/ hand orientation.

For any given task, there must be easily and highly configurable settings in order to fine-tune the task to a patient’s level. With some tasks for example, the home, target, and goal positions all must be easily adjustable.

Consistency is also extremely important. For us, this means if any given task is to be repeated 100 times, the environment will setup everything the exact same way each time. The environment must also log and report data for each type of task. This data ranges from simply the time taken to complete a task, all the way to the changes in motor data coming from the exoskeleton.

The patient must be able to complete assessments and use the exoskeleton to move the virtual arm, but the 3D view of the virtual arm cannot obscure the patient’s view of the task area.

Since this project is being developed in phases, the virtual arm must also be able to modularly use any of the joints specified.

Lastly, optimization is extremely important for this environment, as having major changes in framerate or delay could invalidate the assessment data.

That’s all for the requirements, now we’ll move on to an overview of the project and development.

Overview:

Here we’ll talk about a general overview of the project, and then an overview of our development area specifically.

An overview of how the entire project fits together begins with the patient using the exoskeleton. When they move, the motors from the exoskeleton send data to a supercomputer. This supercomputer then sends data to a PC over ethernet. On the PC, there will be a C# wrapper we implement that can use to store the data coming in from the exoskeleton, for easier access within the 3D environment. Then the same computer runs the Unity 3D environment and will use the C# wrapper to get any data coming in from the exoskeleton and move the virtual arm accordingly. At the same time, the environment and task instructions will be shown on a display that the patient will see and be able to interact with. This environment is actually where 99% of the development is happening for our team, so we’ll zoom in to the environment to get a better overview of that piece.

*Next slide*

Within the environment, there are multiple moving pieces. The person setting up the task (we’ll call them the assessor) will launch the environment, and then be brought to a start menu. From there, the assessor will see a list of tasks. And, after selecting a task, they will be able to configure various things about this task. Then, the task will start and load the 3D environment which sets up everything the task needs or will provide to the user. When the task is setup, it will start running, and it will give visual instructions to the user as to what to do. The virtual arm will then move according to the data it receives from the C# wrapper, which will house the data sent from the actual exoskeleton. As the task runs, various data is recorded and logged. If the task has been specified to be repeated a certain number of times, it will set up its environment again and repeat that many times. If the user completes the tasks, or the task is exited, then the data will be reported to the user through an end screen. From here, the main cycle of the environment can be repeated, or the environment can be exited completely.

Now with this general overview given, we’ll go into more detail with the pieces we will be making our recommendations for. And then, after each recommendation we’ll pause shortly for any questions, comments, or concerns about that specific recommendation. For our first recommendation, I’ll go ahead and pass it off Dawson.

3D Environment Recommendation:

Now we’re onto the 3D Environment recommendation. This encapsulates any objects, assets, textures, backgrounds, or anything else that will be loaded when a certain scene is selected. There are two different key points we focused on with the environment, a style choice and an architecture choice.

For the style choice we had two main paths we discussed which we could go down. One path was to attempt and acquire or make very realistic assets for all the objects, textures, backgrounds, etc. Having real-world modeling for all our assets would make the environment extremely realistic looking, and possibly more immersive. However, having extremely realistic assets takes a higher toll on performance and optimization, as well as a toll on the time to acquire or make any of these assets. The other path we considered was choosing a less-distracting and more simple style for the assets and the environment. This would make the environment not appear like it has real-world modeling, but the time and performance savings would be huge for this path. However, we also knew we didn’t want the environment to appear unprofessional and completely unrealistic. Because of this, we chose to synthesize these two paths into one, by choosing to make the background for the game a sort of grid-space that looks very clean, simple, and professional. But the table and objects would look more realistic and physical, as this is what the patient will be interacting with.

Our other choice we made was how the architecture for the environment would be created and handled in conjunction with tasks. One method was to have the environment be a set of objects, assets, textures, etc. that are created. Almost like a set of basic tools to all be used later during scripting. This way, the base environment would not grow extremely large in terms of assets or code, and each individual task could just pull and use from this environment as it pleased. Because of this, most of the objects within this set of assets for the environment wouldn’t have scripts attached to them, and most of the scripting would take place inside each individual task. The other method we considered was for the environment to be setup as a base for all tasks, with a game manager attached to it, which would contain scripting for the base environment. Then, individual tasks would interface with this, and make additions, or changes, to the 3D environment. While this method cuts down on some redundancy, from our research and experience it also creates more work and more things to go wrong if we have a giant game manager trying to handle all these different tasks. Consequentially, we went with the architecture of the first option, leaving the scripting and major responsibility to each individual task to create and handle the assets the 3D environment provides.

That’s all for environment recommendation, I’d like to now open it up for any questions, comments, or concerns before the next recommendation, if there are any?

* Go to next slide *

Okay if there are no other questions, I’ll pass it off to Miguel to talk about the last recommendation.

Identification of Potential Risks:

So, the biggest potential risk our team identified for this project was the passing of data between 3D environment and the exoskeleton. While it is technically possible for the environment to exert control over the exoskeleton, the risks associated with this caused our team to decide that the environment should not move the exoskeleton in any way. By making this choice, we avoid any chance of writing bad code which could control the exoskeleton and damage or hurt something around it, including the patient. Since the interaction between the exoskeleton and the environment will happen through the C# wrapper, this means we will only write code which reads data from the exoskeleton, and to not implement any code which sends data to the exoskeleton. This way, we can be confident in the fact that the environment will have no control over the exoskeleton and have no possibility to injure the patient.

Another potential risk is the risk of bad data. Since an important requirement of the environment is to be able to log and report data for a patient over several tests, if this data is recorded or shown incorrectly, it has the danger of leading to false test results in many senses. If for example, the data gets recorded when it shouldn’t be, there is a possibility that the data shows the patient did much better than they truly did, while if the data is not recorded as often is it should be, then the exact opposite could happen. Either way, this potential compromise of data is a risk, and to prevent it will require testing. One specific way we could test this would be to run a test which has expected logging results, and then to verify that the actual results match the expected ones.

Finally, another potential risk is that the environment runs below an acceptable framerate. Since optimization and a smooth-running game is a key requirement, if the 3D environment drops below an acceptable frame rate, then at the very least it runs the risk of giving inaccurate test data, among other things. This one is a little more difficult to prevent, as making sure we write optimized code within key areas, and not make any design decisions which would severely hamper framerate is very important. Since we’re using Unity to build the environment, using something like the profiler within Unity will be a helpful tool in monitoring this.

That’s all for the potential risks, and next, we’ll move onto a brief overview of our design validation plan.

Design Validation Plan:

We won’t go into very much detail with the design validation plan, but most of what we plan to validate using testing (at least the big things) involve the movement and functionality of the virtual arm, as well as the look, feel, and interaction of the task environment.

** Next slide **

This also includes validating concerns that objects within the environment are rendered and implemented so that they cast shadows and the patient can easily identify where the object is, and interact with it, within the task space.

With that brief overview given, I’ll go ahead and turn it over to Dawson to talk about our schedule.