Dawson

BLUE SABINO stands for BiLateral Upper-limb Exoskeleton for Simultaneous Assessment of Biomechanics and Neuromuscular Output. The exoskeleton has already been built and many of the functionalities have been implemented. However, a visual representation of the exoskeleton and a way to track it has so far not been implemented. Our task is to create that virtual environment.

Our main goal with this virtual environment is to allow for proper repeatable and consistent assessments of a patient using the BLUE SABINO. Our goal is to develop the project in the Unity game engine and use the C# programming language to tie it into the SABINO’s existing computer hardware. The environment will also be highly configurable to allow for very personalized assessments according to each patient’s needs.

Miguel

We have already blocked out a schedule of how we want to approach the project. 

Currently we are doing a bit of Unity research as a group to get back into the swing of things. But we would like to have a protype done before the end of the semester. Our approach is to begin with 1 task (for example a point-to-point reach), where we can accomplish that task with both in-house developer controls (like with a keyboard and mouse), but also with the BLUE SABINO. And so that is another side of the project, of actually capturing the signal outputs from the exoskeleton to control a virtual arm inside of our gaming environment. On top of that, part of our goal is to allow for up to 5 degrees of freedom with the exoskeleton. That is something like being able to move the arm forwards and backwards, up and down, left and right, etc. And currently we are looking to start with just 2. So maybe just left and right, and up and down.

Other than that, our budget for the project is set at $500, but we’re hoping to have the actual cost be $0.

Alex

Hi there, this is the “3D Game Environment for Arm Assessment” project. Our team’s name is MAD SABINO, my name is Alex, and my two other teammates are Miguel and Dawson.

So, what exactly is this project, and why are we doing this? Well, the Mechanical Engineering Department here at the University of Idaho has built an exoskeleton called the BLUE SABINO which helps assess arm and hand movements of individuals with neurological impairment, such as those who suffer from stroke.  The exoskeleton can also assist and make mobility easier for these individuals, so they can train hand and arm movements which we take for granted.

Our goal is to build a 3D virtual game environment that can utilize the BLUE SABINO to consistently assess the patients in repeatable tasks such as reach and grasp movements. Our solution will enhance the benefits of using a system like the BLUE SABINO by adding an intuitive and easy-to-use visual interface that can be configured to match each patient’s needs exactly.

And with that, I will pass it over to Dawson next to talk a bit more about the specifics.

Questions

- What hardware is the BLUE SABINO currently utilizing?

  - Speedgoat real-time simulation and testing devices. These devices are highly specialized for a variety of industries, especially medical equipment, and run using a software called Simulink Real-Time, which utilizes MATLAB.

- What is the end goal for the project?

  - Educational and research use, that could be potentially transitioned to mass-market in the future.

- What is a gaming/virtual environment?

  - You can think of a gaming environment, just like you would a video game. It’s an interactable experience that has it’s own set of rules and objectives.

- Why build/use a gaming/virtual environment?

  - There exist somewhat similar projects out there, but not exactly what we are aiming for.

  - With a virtual environment, we can avoid issues which real-world assessments would. For example, trying to move a ball while avoiding obstacles could cause collisions with the sabino in real life. However, in a virtual world, this can be completely avoided.

  - Also, in real-world scenarios, setting the assessment up in the exact same way each time with no change in order to measure and report what happens is difficult. There may be small differences. But virtually, it is very easy to set exact positions where things will start, and very precisely measure any number of statistics.

- How will the user interact with the virtual environment?

  - The user will interact with the SABINO exoskeleton, and the movements will be translated to the environment, which will be displayed on a monitor. The software will help guide patients to predetermined goals.

- What type of things can be configured for each patient?

  - Individually configurable joints whose range of motion can be changed depending on the patient’s needs.